Environmental Protection Committee Staff

Samara Swanston, Legislative Counsel

Nadia Johnson, Senior Policy Analyst

Ricky Chawla, Policy Analyst

Jonathan Seltzer, Senior Finance Analyst

###### The New York City Council

Jeffrey Baker, Legislative Director

###### Committee Report of the Infrastructure Division

Terzah Nasser, Deputy Director

Committee on Environmental Protection

Hon. Costa Constantinides, Chair

#### October 29, 2020

Proposed Int. No. 1947-A:	By Council Members Constantinides, Kallos, Reynoso, Lander, Levin, Gibson, Van Bramer, Rosenthal, Rivera, Chin, Rodriguez, Ayala, Levine and Menchaca

Title:	A Local Law to amend the administrative code of the city of New York, in relation to rent regulated accommodations

Administrative Code:	Amends section 28-320.1, adds a new section 320.3.10.1, amends the definition of “rent regulated accommodation” in section 28-321.1

Proposed Int. No. 2072-A:	By Council Members Constantinides, Kallos, Chin and Rosenthal

Title:	A Local Law to amend the administrative code of the city of New York, in relation to greenhouse gas emissions reduction methods and outreach and education

Administrative Code:	Amends section 28-320.3.7 and adds new sections 28-320.3.7.2 and 28-320.5.1

- Introduction

On October 29, 2020, the Committee on Environmental Protection, chaired by Council Member Costa Constantinides, will hold a hearing on Proposed Int. No. 1947-A, in relation to rent regulated accommodations, and Proposed Int. No. 2072-A, in relation to greenhouse gas emissions reduction methods and outreach and education.

The Committee previously held a hearing on these bills on September 22, 2020 and received testimony from the New York City Department of Buildings, Mayor’s Office of Sustainability, energy experts, environmental advocates, and interested members of the public.  More information about this legislation is available with the materials for that hearing, which can be accessed online at https://on.nyc.gov/3kwOoma.

- Proposed Int. No. 1947-A

Proposed Int. No. 1947-A would amend the definition of rent regulated accommodations in sections 28-320.1 and 28-321.1 of the Administrative Code to include only dwellings in which 35% or more of the dwelling units are required to be rent regulated. Under section 28-320.3.10.1 of this legislation, newly covered buildings would have a two year extension to comply with the first building emissions limits. This local law would take effect immediately.

- Proposed Int. No. 2072-A

Proposed Int. No. 2072-A would amend section 28-320.3.7 of the Administrative Code to clarify that building owners are required to file certain reports regarding compliance or non-compliance with applicable buildings emissions limit established pursuant to Local Law 97 of 2019 and provides for additional reporting when applicable.  The legislation would also require reporting by the Office of Building Energy and Emissions Performance regarding the methods used to meet the emissions limits, the total number of buildings in each occupancy category in compliance, and details of the required outreach and education efforts offered by such Office. This local law would take effect immediately.

Proposed Int. No. 1947-A

By Council Members Constantinides, Kallos, Reynoso, Lander, Levin, Gibson, Van Bramer, Rosenthal, Rivera, Chin, Rodriguez, Ayala, Levine and Menchaca

..Title

A Local Law to amend the administrative code of the city of New York in relation to rent regulated accommodations

..Body

Be it enacted by the Council as follows:

Section 1. The definition of “rent regulated accommodation” in section 28-320.1 of the administrative code of the city of New York, as amended by local law number 147 for the year 2019, is amended to read as follows:

RENT REGULATED ACCOMMODATION. The term “rent regulated accommodation” means a building [containing one or more] in which more than 35% of dwelling units are required by law or by an agreement with a governmental entity to be regulated in accordance with the emergency tenant protection act of 1974, the rent stabilization law of 1969, or the local emergency housing rent control act of 1962.

§ 2. Article 320 of chapter 3 of title 28 of the administrative code of the city of New York is amended by adding a new section 28-320.3.10.1 to read as follows:

§ 28-320.3.10.1 Additional time for certain covered buildings.  A covered building where at least one dwelling unit is required by law or by an agreement with a governmental entity to be regulated in accordance with the emergency tenant protection act of 1974, the rent stabilization law of 1969, or the local emergency housing rent control act of 1962, but that is not a rent regulated accommodation pursuant to this article, may delay compliance with annual building emissions limits until January 1, 2026, and submission of the first report required by section 28-320.3.7 until May 1, 2027.

§ 3. The definition of “rent regulated accommodation” in section 28-321.1 of the administrative code of the city of New York, as added by local law number 147 for the year 2019, is amended to read as follows:

RENT REGULATED ACCOMMODATION. The term “rent regulated accommodation” means a building [containing one or more] in which more than 35% of dwelling units are required by law or by an agreement with a governmental entity to be regulated in accordance with the emergency tenant protection act of 1974, the rent stabilization law of 1969, or the local emergency housing rent control act of 1962.

§ 4.  This local law takes effect immediately.

NKA

10/21/20

5:18PM

LS 14519

Proposed Int. No. 2072-A

By Council Members Constantinides, Kallos, Chin and Rosenthal

..Title

A Local Law to amend the administrative code of the city of New York in relation to greenhouse gas emissions reduction methods and outreach and education

..Body

Be it enacted by the Council as follows:

Section 1.  Section 28-320.3.7 of the administrative code of the city of New York, as added by local law number 97 for the year 2019, is amended to read as follows:

§ 28-320.3.7 Reports required to be filed by owner. By May 1, 2025, and by May 1 of every year thereafter, the owner of a covered building shall file with the department a report, certified by a registered design professional, prepared in a form and manner and containing such information as specified in rules of the department, that for the previous calendar year such building is either:

1.   In compliance with the applicable building emissions limit established pursuant to section 28-320.3; or

2. 	Not in compliance with such applicable building emissions limit, along with the amount by which such building exceeds such limit.

For a report filed on or after May 1, 2026, where a report required to be submitted by May 1 in the prior year indicated that the covered building was not in compliance with the applicable building emissions limit established pursuant to section 28-320.3 in the calendar year covered by such report, but such building is in compliance for the calendar year covered by the report required to be submitted by May 1 in the current year, such report shall describe the methods used to achieve compliance.

§ 2. Article 320 of title 28 of the administrative code of the city of New York is amended by adding a new section 28-320.3.7.2 to read as follows

§ 28-320.3.7.2 Reporting on compliance by the department. By January 1, 2026, and January 1 of every year thereafter, the office of building energy and emissions performance shall submit to the mayor and the speaker of the council a report relating to compliance with this section. Such report shall include, but not be limited to:

1.	Beginning with the report due January 1, 2027, the methods used by covered buildings to comply with the building emissions limits established pursuant to section 28-320.3 where such buildings were not in compliance for the report submitted in the previous year, including, as applicable, any retrofitting improvements and purchasing of clean energy, disaggregated by method and by number of buildings; and

2.	The total number of buildings in each occupancy group, and the number of buildings in compliance with emissions limits, disaggregated by occupancy group.

§ 3. Article 320 of title 28 of the administrative code of the city of New York is amended by adding a new section 28-320.5.1 to read as follows:

§ 28-320.5.1. Reporting on outreach and education. By June 1, 2021, and by June 1 in every year thereafter, the office of building energy and emissions performance shall submit a report to the mayor and the speaker of the council, detailing the outreach and education efforts made pursuant to section 28-320.5, including, but not limited to information provided about incentive programs and other sources of funding. Such report shall also include the number of staff members working at the office of building energy and emissions performance.

§ 4.  This local law takes effect immediately.

NKA

10/21/2020

7:50pm

LS 11205