Plain Language Summary

Current Introduction Number:

Proposed Int. No. 804-A

Prime Sponsors:

Council Member Wong

Bill Title:

A Local Law to amend the administrative code of the city of New York, in relation to the maximum allowable illuminance of residential outdoor lighting fixtures

Bill Summary:

This plain language summary is for informational purposes only and does not substitute for legal counsel. For more information, you should review the full text of the bill, which is available online at legistar.council.nyc.gov.

This bill would establish a maximum allowable illuminance of 1 footcandle (11 lux) for certain residential outdoor lighting fixtures. The illuminance limit would apply only to 1- and 2-family homes in low-density residential districts. Outdoor lighting fixtures that are government-operated, used to illuminate a parking lot or sidewalk shed, used for construction safety, part of lawful signs, or part of temporary ornamental displays would be exempt. The Department of Buildings would issue a civil penalty to violators, with the ability to reduce such penalty to $0 if the violator takes steps to prevent the light from shining onto neighboring properties by shielding, relocating, or removing the outdoor lighting fixture.

Effective Date:

270 days after becoming law

Legislative Impact:

☐ Agency Rulemaking Required: Is City agency rulemaking required?

☐ Report Required: Is a report due to Council required?

☐ Sunset Date Included: Does the legislation have a sunset date?

☐ Council Appointment Required: Is an appointment by the Council required?

☐ Other Appointment Required: Are other appointments not by the Council required?

Note: In the full bill text online at legistar.council.nyc.gov, language in proposed consolidated laws that is enclosed by [brackets] would be deleted, and language that is underlined would be new. Language in proposed unconsolidated laws, in contrast, will not have brackets or underlining because it would be entirely new. Consolidation means that the law would be placed in the New York City Charter or Administrative Code.

Session 14

SNT

Int. No. 753-2024

LS #2433/22832

7/8/2026 9:22 PM

Session 13

LS #2433

1/12/2024